LATTICE GEOMETRY

EMILY MACHAN, CATHRYN PARSONS AND MICHAEL ROBERTSON

Often when indexing electron diffraction patterns, the plane spacing and angle between two reciprocal lattices vectors of a known crystal structure needs to be calculated and compared to experimental measurements.  This process quickly becomes non-trivial as the symmetry of the crystal becomes increasingly non-cubic.  Therefore, in order to facilitate the indexing of electron diffraction patterns, an EXCEL™ utility (Lattice_Geometry.xls) was created to calculate plane spacing, reciprocal lattice spacing, unit cell volume and angle between two reciprocal lattice vectors for the seven crystal systems.

Each of the seven conventional crystal systems, cubic, tetragonal, hexagonal, rhombohedral, orthorhombic, orthorhombic, monoclinic and triclinic, has been given a separate page in the workbook.  The cells requiring user input data are highlighted in purple and the cells displaying the calculated results are highlighted in blue.  The equations were obtained from Cullity [1] and have been reproduced in the Appendix.  A screenshot of the workbook interface for the hexagonal crystal system is shown in Figure 1 and the spreadsheets can be easily customized to meet the specific needs of the user.

Although the calculations contained within Lattice_Geometry.xls are believed to be correct, there is always the chance of a small error creeping in during the typing of the equations.  In this case, please contact the authors and the necessary changes will be made to the file.  Have fun!

DISCLAIMER

The file, Lattice_Geometry.xls, has been provided for demonstration purposes only with no guarantee or warranty of any kind that it is correct or produces correct results.  By using this file the user agrees to accept all risks and liabilities associated with the file.  This file, or any portion thereof, may be freely distributed, but may not be sold or rented.

REFERENCES

1. Cullity, B.D, Elements of X-ray Diffraction, Addison-Wesley, pp. 501-503 (1978).

Figure 1.  The user interface for the hexagonal crystal system in program Lattice_Geometry.xls.

APPENDIX

The equations used in the spreadsheet were provided by Cullity [1] and have been reproduced below.

Plane Spacing

Cubic:

Tetragonal:

Hexagonal:

Rhombohedral:

Orthorhombic:

Monoclinic:

Triclinic:

The intermediate results used for the triclinic crystal system,

Unit Cell Volume

Cubic:

Tetragonal:

Hexagonal:

Rhombohedral:

Orthorhombic:

Monoclinic:

Triclinic:

Interplanar Angle

Cubic:

Tetragonal:

Hexagonal:

Rhombohedral:	Orthorhombic:

Monoclinic:

Triclinic:

Dept. of Physics, Acadia University, Wolfville, NS B4P 2R6; email: michael.robertson@acadiau.ca